## Slide 1: NOI-Enhancing Green Strategies in Rehabs and New Development
Julie Roby - Director of Residential Energy Solutions
Curt Mann – Director of Sustainability and Energy Mngt.
Moderator: Jim Kjolhede
10/15/2014

## Slide 2
NOI Enhancing Green Strategies
Enhancing Old and Exciting New Ideas
High Tech and Low Hanging Fruit
Proven Success Systems and Techniques
Q and A At the End, plus Speaker Time
Notes: first question right off the bat - renewable or efficiency? efficiency first.

## Slide 3: NOI-Enhancing Green Strategies in Rehabs and New Development
Julie Roby,
Director of Residential Energy Solutions
greeNEWit
10/15/2014

## Slide 4
Founded in 2008 to continuously educate customers on opportunities to use energy more intelligently and efficiently.

## Slide 5
The cheapest energy is the energy you never use at all.
You’re all here to learn:
What projects are best?
How to implement?
HOW TO PAY FOR IT?
But first, it’s important to address the WHY...
Green Strategies = Energy Efficiency
Notes: first question right off the bat - renewable or efficiency? efficiency first.

## Slide 6
EPA’s Clean Air Act, Section 111 B (new and modified power plants) & D (existing power plants; states differ)
Natural gas issues
= Rising energy prices
With that in mind, let’s consider:
Risk reduction
Cost of waiting
Getting in front of capital planning
The WHY: Changing Landscape
Notes: D - EPA released proposed carbon pollution standards 6/1/2014; will finalize 6/1/2015 and states will have to submit plans no later than 6/30/2016

## Slide 7
This is how you convince the CFO:
Speak in financial terms
Internal rate of return should be higher than company’s internal minimum rate of return
Identify how the project can help drive the core business (i.e. illustrate incremental cash flows)
Talk about financing options
(source: Noesis, 2014)
The WHY: Increasing Asset Value

## Slide 8
Strategic energy solutions partner
  Manages processes
  Submits paperwork/compliance
  Quality control
  Looks ahead to new technologies
Like a lot of things in life, it’s about taking it from where you are, to where you could be.
The WHAT: Comprehensive Implementation

## Slide 9
The WHAT: Data Needed to Act
From you:
  12 months utility data
From energy solutions partner:
  Project benchmarks
  Project scope/costs
  Financial analysis

## Slide 10
The WHAT: Plan it, Do it, Promote it
Portfolio level - prioritize costs, rebates, existing needs
Building level - consider systems’ interaction
Improve performance:
Analyze
Direct install low hanging fruit
Retrofit buildings with less sexy stuff like air sealing and insulation
Measure and verify results
Don’t forget about the residents...
Notes: over 40,000 doors opened to energy efficiency, you’d be surprised how cognisant residents are to energy prices. In a highly competitive market like where greeNEWit started, we’ve found that even the little things, like DI, can help them to feel taken care of and make them want to stay.
resident satisfaction directly affects NOI

## Slide 11
Notes: wine and dine
resident info sessions

## Slide 12
Examples: Putting it into Practice
Bill analysis/benchmarking
Rebate/incentive analysis
Scope development with ROI analysis
Commercial energy audits
Retrofit project management
Measurement and verification

## Slide 13
Case Study: Greystar

## Slide 14
Case Study: Dolben
Notes: After successfully helping Park Station’s tenants
saving over 90,000 kWh annually, the Dolben Com-
pany asked greeNEWit to also uncover savings po-
tentials in the common areas. Our lighting analysis
projected over $19,000 of savings potential for all
common and exterior areas, including walkways,
parking garage, and the leasing office and com-
munity center.
The parking garage was previously lit by 150W
- 175W Metal Halide and Low Pressure Sodium
lamps. Some dark areas and poor color rendering
made the parking garage appear dark and unsafe.
greeNEWit replaced 144 canopy lights with 40W
LED low-profile canopies. The retrofit eliminated
previously dark areas and now provides even, day-
light quality lighting.

## Slide 15
Case Study: Corvias Military Living
https://www.youtube.com/v/1DO4AVBBD1U&start=87&autoplay=1
Notes: After successfully helping Park Station’s tenants
saving over 90,000 kWh annually, the Dolben Com-
pany asked greeNEWit to also uncover savings po-
tentials in the common areas. Our lighting analysis
projected over $19,000 of savings potential for all
common and exterior areas, including walkways,
parking garage, and the leasing office and com-
munity center.
The parking garage was previously lit by 150W
- 175W Metal Halide and Low Pressure Sodium
lamps. Some dark areas and poor color rendering
made the parking garage appear dark and unsafe.
greeNEWit replaced 144 canopy lights with 40W
LED low-profile canopies. The retrofit eliminated
previously dark areas and now provides even, day-
light quality lighting.

## Slide 16
The HOW: Planning to Pay for It
Owner out of pocket
Plug it into upcoming year’s capital budget
Time of sale or refinance by incorporating it into your loan
    When your lender is ordering the PNA, make sure your energy upgrade quotes are included like lighting, hvac, controls, etc.
    You will become empowered to advocate for yourselves to have energy efficiency
Notes: based on how proactive or reactive your capital planning process is, you and the other decision makers may choose to 1. , 2. or 3.

## Slide 17
The HOW: Conference Call
Tax exempt leases
Operating leases (“off balance sheet”)
Capital leases
Shared savings agreements
Local rebates
Local financing (PACE)
On bill financing
Notes: CFO, energy solutions partner, accountant

## Slide 18
Energy solutions partner
Analysis
Prioritization
Planned scope
Financial common sense
Marketing to residents
Opportunity: reinvest savings!
RECAP
Notes: not perfectly easy or quick; planning for 2015-2020; next year I would hope that you’re on track with this methodology

## Slide 19
Owners able to market net comparative energy cost
    Building Energy Data Exchange Specifications (BEDES) database to be piloted by DOE
      CA
      DCSEU?
    Incorporating building performance into dynamic pricing model
    Ex. Corvias military - Live Army Green
Tying appliances to smart grid to take advantage of ancillary revenue
What the future holds...
Notes: we’re in the early stage, proud of yourselves. 5-10 years becoming more mainstream, info will be provided so it’s easier to compare apples to apples

## Slide 20: Thank you!

## Slide 21: Energy Smart
Strategies that work
Curt Mann
BluTrend

## Slide 22
Green evaluation matrix

## Slide 23
The Power of LED
 | Metal Halide | LED
 | 175W | 58W
Net Cost of Fixture | $150 | $490
Annual Electric Cost | $221 | $51
 | Payback | 15 Months
 | Increased Property Value | $ 1,798,261
Annual electric costs more than the fixture
The Gift that keeps on Giving
15-20 yr life
Notes: Discussion on lumen diminution over time with MH, HPS, bulb expectancy, CRI, progress in light color (K Value), pricing coming down, quality going up. Make 175 and 58w larger, reduced heat, lower labor, etc.

## Slide 24: The Important Ones
Power Player of the Quarter
Here’s how Ruben Created Value :

## Slide 25
Technology is your friend
Automate your Utility log – eliminate utility theft.

## Slide 26
Eco Bling - that works
Notes: Easy to implement motion detectors in common areas (bathroom / copy room / etc.)

## Slide 27
Cost of the Sun – $0
Cost of capture – it works

## Slide 28
Incentives are everywhere
$28M
$100 per toilet
$.26 per kw

## Slide 29: ‘Green’ Features Relative to Importance
Chart: 
| Closet space/size | Storage | Upgraded appliances | Open kitchen floorplan | Energy efficiency | Environ-mentally friendly | High ceilings | Hardwood flooring
Combined mentions of somewhat and very important | 0.83 | 0.75 | 0.64 | 0.57 | 0.56 | 0.42 | 0.32 | 0.29
Very important | 0.37 | 0.28 | 0.18 | 0.17 | 0.18 | 0.12 | 0.08 | 0.07
How important are/were the following features when choosing an/you chose your apartment?
62% of renters felt energy efficiency and environmentally friendly features were of importance when choosing which apartment to rent.
62% Collectively
“Green” is the 4th Most Important Feature

## Slide 30: Why is ‘Green’ Important?
Why is it important to you to live in an ‘environmentally friendly’ apartment?
Base: Important to live in an ‘environmentally friendly’ apartment
Chart: 
| Good for the earth | Cost efficiency | Responsibility for environment | Reduce energy use | Recycling is important | Smaller personal impact | Reduce waste | Preserve the environment | Conserve resources
 | 0.29 | 0.26 | 0.17 | 0.13 | 0.11 | 0.11 | 0.07 | 0.07 | 0.06
Cost efficiency – 39%
Environmental Stewardship – 53%
Reduce Personal Footprint– 29%
Environmental stewardship and cost efficiency drove importance of living
in an environmentally friendly apartment.
Renters Grasp the Multi-Level benefits of Green Living

## Slide 31: Interest in ‘Green’
Cost savings outweighed having a positive impact on the environment,
though not substantially.
Which would best describe your feelings about renting an apartment with
‘environmentally friendly’ features? Base: ‘Environmentally friendly’ is important
Chart: 
| It feels good to save money on utility bills | It feels good to have a lower impact on the environment | It has no impact on how I feel | Other
 | 0.84 | 0.75 | 0.04 | 0.01
Cost Savings is 1st Benefit, Environmental Stewardship 2nd

## Slide 32: Disinterest in ‘Green’
Cost and the low priority of concern for the environment
drove lack of interest.
Why is it not important to you to live in an ‘environmentally friendly’ apartment?
Base: Not important to live in an ‘environmentally friendly’ apartment
Chart: 
| Affordability | More expensive | Not a priority | Don't care about the environment | Location is more important | It doesn't matter | None available in area | No control over environmental issues




 | 0.32 | 0.25 | 0.16 | 0.1 | 0.06 | 0.06 | 0.05 | 0.05
Cost – 57%
Environment not a Concern - 37%
57% Think ‘Green’ is Too Expensive

## Slide 33
Real numbers – real savings
Notes: Of course go into what all was done, the process that you all went through to benchmark, implement, measure, communicate (to residents / investors / employees, etc.) and even the calculation of how it turbo charges the value of the asset upon sale.

## Slide 34
From Pennies to Millions
Notes: This takes care of prior comment. Discussion of interim benefit (every month / every year) and then the BIG jump on sale.

## Slide 35: Triple bottom line
Curt Mann
404.276.0084
Curt.mann@blutrend.com

## Slide 36
Questions
And
Answers

## Slide 37
Thank you and Drive Home Safely!!!
Julie Roby – julie.r@greenewit.com
Curt Mann – curt.mann@blutrend.com
Jim Kjolhede – jimk@satteron.com